## Slide 1: A 3D-printed condom intrauterine balloon tamponade for low-resource settings
Davide Piaggio (Research Assistant, PhD student) Prof Leandro Pecchia
Applied Biomedical Signal Processing Intelligent eHealth Lab, University of Warwick, UK

## Slide 2: The Team / Workgroup
Prof Leandro Pecchia
Davide Piaggio (Research Assistant, PhD student)
Scott Hyland
[mechanical eng] (MSc)
Prof Daton Medenou
Dr Roland C. Houessouvo
University Abomay-Calavi, Benin
Katy Stokes
[Biologist]
(PhD student)
Alessia Maccaro
[Bioethicist] (Research Fellow)
Coventry
Abomey-Calavi

## Slide 3: Description
5 field studies in Sub-Saharan Africa in 18 months fed a SWOT (Strengths, Weaknesses, Opportunities and Threats) analysis, which informed the definition of a framework for the contextualized & user-driven design of medical devices for LMICs
This SWOT informed the contextual design of the 3D-printed intrauterine balloon tamponade, aiming to be a first-line treatment of postpartum haemorrhage (PPH) in low-resource settings (LRS).
Strengths
Diffusion of condoms
Easy-learners
Centralised leadership
Resilient workers
Peaceful and growing country
Weaknesses
Limited-resource country
Lack of specialised personnel
Poor supply chain
Poor infrastructures
Gender biases
Uneven distribution of resources
Threats
Shortcuts become chronic solutions
Empowered operators will never be medical doctors
Opportunities
Flexible workers
Little/No-inertia to changes
Leverage on circular economy (using 3D printers and protocyclers) and capacity building;
Recycling old parts of the same device;
Local manufacturing
Use of water bottles;
Use of condoms;
Affordable (free) design/deployment
Target (potential) lay-users
Easy deployment
No maintenance

## Slide 4: Goals of the project and final users that will benefit
One of the 17 Goals is:
«...ensuring Good Health & Wellbeing (3)»
  In particular, Goal 3 target number 1 aims to: «reduce the global maternal mortality ratio to less than 70 per 100,000 live births by 2030»
25% of maternal mortalities worldwide are due to PPH
PPH:
>500 mL blood loss
Final Users: given the scarcity of specialised doctors and of devices (and spare parts) for this health condition, there is a clear need for a simple but effective device to treat PPH
The Goals of this projects were:
Design and prototype a 3D-printed condom-based intrauterine balloon tamponade, based on circular economy principles, for empowering lay-users in treating PPH
Preclinically validate device measuring the water leak and the pressure drop over time in two conditions (i.e., open air and in a 3D-printed uterus model)
Run clinical trials
A device for LRS
Chance of death during childbirth and pregnancy in LRSs
Chance of death during childbirth and pregnacy in higher resource settings

## Slide 5: Methods – Design and prototyping
The device was designed using Autodesk Fusion 360, sliced on Cura, and printed on a Creality Ender 3 3D printer
Material - PLA
Layer height - 0.16 mm
Infill - 15%
Nozzle temperature - 200°C
Bed temperature - 40°C
For threaded valves:
M11x0.75 (finer),
M11x1.5 (coarser)

## Slide 6
Methods – Validation and testing
The device was validated measuring the volume of leaked water and of lost pressure over time, in two conditions (i.e., open air and in a 3D-printed uterus model***). For measuring the loss of pressure an ad-hoc circuit was created on Arduino, using a pressure sensor (a manometer was used as a benchmark).
*** Uterus model adapted from: Mollazadeh-Moghaddam K, Dundek M, Bellare A, Borovac-Pinheiro A, Won A, Burke TF. Mechanical Properties of the Every Second Matters for Mothers-Uterine Balloon Tamponade (ESM-UBT) Device: In Vitro Tests. AJP reports. 2019 Oct;9(4):e376.

## Slide 7
Results
Variable | Open Air | In Uterus model***
Average Water Leak (mL/h) | 0 | 2.47
Total Water leak (mL)* | 0 | 14
Average Pressure loss (mmHg/h) | ---- | 0.93
Total Pressure loss (mmHg)** | ---- | 2.75
*over 5+ hours
** over 3 hours
Valve performance comparison
D

## Slide 8: Leandro Pecchia
l.pecchia@warwick.ac.uk, davide.piaggio@warwick.ac.uk
Applied Biomedical Signal Processing Intelligent eHealth Lab, University of Warwick, UK
Piaggio D., Hyland S., Stokes K., Orfeo A., Maccaro A., Pecchia L. A 3D-printed condom intrauterine balloon tamponade (currently submitted).