## Slide 1
International Program for Open-Source Medical Device Design:
A contribution to development cooperation
Ramon Farré, Ph.D.
Professor of Physiology
Unit of Biophysics & Bioengineering
School of Medicine & Health Sciences
rfarre@ub.edu
2024 Global Clinical Engineering Day/Week

## Slide 2
Next slides present a short description of the Program
Full details can be found at:
www.open-source-medical-devices.com

## Slide 3
International Program for Open-Source Medical Device Design: A contribution to development cooperation
Inequity in global health:
How to reduce this access inequality besides passively waiting under the wishful thinking that economic differences among countries will soon disappear?
The problem
Most medical devices are produced by companies in developed countries, with high product prices thus unaffordable to most patients in LMICs.
Only a small wealthy minority in LMICs have access to commercialized medical devices. Billions of inhabitants in low-resource regions have scarce or no access to life-saving medical equipment.
Example:
Mechanical ventilators

## Slide 4
2) Building devices in LMICs could reduce production and distribution costs while enabling improved servicing and repairs but is challenging and slow. It requires:
- capital funding,
- trained professionals,
- management of intellectual property,
- reduction of costs to ensure that the devices are affordable.
Possible solutions?
1) Philanthropic donations of commercially available medical devices: helpful for specific cases, but not a universal solution (high cost, maintenance problems).
3) Alternatively, an open-source approach provides an opportunity for the provision of medical technology in low-resource regions.
International Program for Open-Source Medical Device Design: A contribution to development cooperation

## Slide 5
Is based on the sharing of detailed technical descriptions open to be freely replicated or adapted without any patent restrictions or limitations.
It can be applied following the concept of frugal engineering, i.e. the design is focused on the core functions, avoiding non-essential functionalities.
Open-source techology development
Commercial industrial strategies are typically based on competition, usually by offering complementary (vanity) features may provide a competitive advantage.
Most commonly used medical devices are based on often simple technological principles that originated decades ago and are no longer restricted by patents.
1950-60
International Program for Open-Source Medical Device Design: A contribution to development cooperation

## Slide 6
Currently facilitated by:
3D printers, cheap and widely available
Simple inexpensive electronic platforms (e.g., Arduino)
Affordable sensors, actuators and electronic components
Components availability by E-commerce (e.g., Amazon, Alibaba)
Open-source, high-performance, low-cost medical devices
Individuals or small professional groups can fabricate complex devices in a way that was not possible a few years ago.
The technical complexity required to assemble the low-cost open-source devices is at the level of an academic exercise for engineering/electronics students.
Useful that clinicians in LMICs contact engineer teams in their environment to collaborate.
International Program for Open-Source Medical Device Design: A contribution to development cooperation

## Slide 7
For instance: www.open-source-medical-devices.com
Low-cost, highly performant medical devices are possible by global cooperation.
International Program for Open-Source Medical Device Design: A contribution to development cooperation

## Slide 8
www.open-source-medical-devices.com
Infant air conditioner
Infant incubator
International Program for Open-Source Medical Device Design: A contribution to development cooperation
Examples

## Slide 9
www.open-source-medical-devices.com
Infection microorganisms detection
Loop-Mediated Isothermal Amplification (LAMP)
International Program for Open-Source Medical Device Design: A contribution to development cooperation
Examples

## Slide 10
www.open-source-medical-devices.com
Non-invasive ventilator
Sierra Leone, Vietnam
<75 $
International Program for Open-Source Medical Device Design: A contribution to development cooperation
Examples

## Slide 11
www.open-source-medical-devices.com
Bubble CPAP for infants
Bangla-Desh, Gambia, Mozambique
<100 $
International Program for Open-Source Medical Device Design: A contribution to development cooperation
Examples

## Slide 12
FDA, CE approval is conventional in developed countries: very complex and expensive.
This local regulation model was and is useful for protecting patient safety. Therefore, this process could be equally applied to approving medical devices built locally.
Safety and patient protection
Simple and effective alternative:
Decades ago in developed countries, when most medical devices were developed by building them locally before being industrialized, patient safety was ensured by inspection and approval by hospital ethical boards, which is the way for currently approving clinical trials.
Accepting that, to be used in LMICs, medical devices must have an FDA or CE mark is in practice equivalent to prohibiting most inhabitants from having access to potentially life-saving treatments.
International Program for Open-Source Medical Device Design: A contribution to development cooperation

## Slide 13
Addressing the global gap in healthcare is thus not facing a scientific or technological barrier, but instead is facing a social responsibility challenge.
The open-source approach may be a tool for facilitating affordable medical devices for patients in LMICs who otherwise would not have access to devices that, in some cases, enable life-saving treatment.
CONCLUSIONS
www.open-source-medical-devices.com
International Program for Open-Source Medical Device Design: A contribution to development cooperation